# Clendenin Volunteer Fire Department        Knox Box Program

Design Professionals: Our Design Guideline is located here.

In order to allow rapid entry to properties for firefighters, the Clendenin Volunteer Fire Department in partnership with The Town of Clendenin uses a designated key box and proprietary key system, utilizing the Knox Rapid Entry System (KRES). The following type properties are required to utilize the KRES system:

- Buildings equipped with fire sprinkler systems and/or fire alarm systems monitored by an outside Central Station

- Buildings with elevators

- Commercial businesses that use, store, manufacture or process on site hazardous materials that must be reported under Title III of the Federal Super Fund Amendments

- Commercial businesses, Restaurants, Churches, and healthcare facility’s

- Apartment buildings

- Other properties or structures where fire department access would be delayed as determined by the fire or code official

Knox boxes shall be installed preferably at the main entrance, and at a location and height that allow them to be readily accessible. Circumstances such as the size of the property, nature of any hazards, etc., may warrant the need for additional boxes to be located on the same property.

The number and sets of keys shall be determined based on the following criteria:

- Single story, less than 50,000 sq. ft.: One set

- Single story, greater than 50,000 sq. ft.: Three sets

- Two to six stories, less than 50,000 sq. ft.: Two sets

- Two to six stories, greater than 50,000 sq. ft.: Three sets

For most applications, the 3200 series style is acceptable. For larger applications requiring numerous keys (up to 50), the 4400 series may be warranted.

Knox Box style descriptions, price lists, and order forms are available by downloading the documents below, or by visiting their website by clicking here.

For more information or questions regarding the program please visit our website or contact our department at:

Captain Jacob B. Clendenin

Website: https://clendeninfire.com

Phone: 304-951-3981

Email: clendeninvfdwv@gmail.com